7- TELECOMMUNICATION SYSTEMS

7.1	GENERAL DESCRIPTION

7.1.1	Scope

This section of the contract will define the minimum requirements of telecommunication system for the ARAB GAS PIPE LINE PHASE II. It will include the Controls, Metering and Telecommunication Systems and interfacing to the existing Telecommunication System of Gas Coordination Center Project. The new Fiber Optic Cable will be laid alongside the pipeline to serve Telecommunication, Control and data transferring (see note below). The telecomm. Location shall be installed on the following project arias:

-	Four (4) Block Valve Stations (BVS).

-           One intermediate station.

-           One (1) AL FOREQLS FMS

-          One Aleppo station

-           In addition to one location to be installed at the GCC

7.1.2	Codes, Standards and Documents

The telecom system, including equipment, design and installation shall conform to all applicable RFQ specification, United States and International Codes and Standards including but not limited to that specified and described in the “EXHIBIT-G, Data References and Contract’s General Specifications” and in the “Exhibit-F, Appendices and Special Project Specifications”.

In case a discrepancy arises or exists between codes, standards, drawings and documents, the most severe shall govern.

7.1.3	Materials and Products

CONTRACTOR shall provide all materials, personnel, tools and construction equipment for the installation of the controls, metering and telecommunication systems in accordance with Drawings, General Specifications, Codes and Standards.

CONTRACTOR shall identify critical items of equipment and other materials and shall make appropriate arrangements to order and have such items delivered to meet the required overall completion date.

7.1.4	Construction

CONTRACTOR shall provide all personnel, supervision, co-ordination, tools and materials as well as competent knowledge of construction for the installation, testing and putting into operation of each control and telecommunication system and product specified.

CONTRACTOR shall execute all work in a workmanlike manner so as to present a neat and finished appearance when completed.

CONTRACTOR shall become familiar with the Construction Drawings of all trades and when laying out the work with regard to structural, piping and mechanical features.

CONTRACTOR shall provide for approval a construction schedule, which will take into full consideration the availability or delivery of all equipment, materials and the target completion date required by the COMPANY.

CONTRACTOR shall arrange his own inspection team and equipment for the quality control of the whole work. It shall be noted that, although the COMPANY will appoint its own independent inspection agent, the responsibility for meeting the appropriate quality standards will remain with the CONTRACTOR.

CONTRACTOR shall perform the commissioning and start-up activities to the satisfaction of the COMPANY or its representatives.

7.1.5	Environment

All devices, instruments and materials shall be designed to fulfil the environmental specifications and conditions provided in “EXHIBIT-F and EXHIBIT-G”.

7.1.7	Material Selection

All material and equipment/instruments supplied for the ARAB GAS PIPE LINE - PHASE II shall be suitable for the conditions (environmental, site and gas) as defined in the “EXHIBIT-F and EXHIBIT-G”.

    - Project Schedule

CONTRACTOR shall provide a complete schedule as indicated in section 1-General Scope and Definition item -1.7

7.1.9	Drawings

CONTRACTOR shall provide the Drawings as required “AFPC Schedule-B, Engineering Documentation” provided in “Exhibit-G, Data References and Contract’s General Specifications”.

N.