EXHIBIT-D

CONTRACT SCHEDULE

contractor is responsible to execute the  PROJET to be  ready for start up  within    ( 22  ) twenty two months after the date of commencement order, followed by the initial hydrocarbon introducing and issuing of Mechanical Completion Certificate (MCC) as per RFQ documents.

COMPANY (SGC) then shall continue operation of the Gas Compression Station and Fiscal Metering Station (already operated train and Gas compressor units) and shall commission and start up of the remaining train and Gas compressor to feed gas under responsibility, supervision and control of the Contractor 's representative(s).when all Gas compressors units and trains are started  up and successfully operated for 24 hours (at full station load )then a (72)hours continuous operation /test without any interruption as per RFQ conditions and requirement shall be performed..

CONTRACTOR SHALL PROVIDE DETAILED CONTRACT SCHEDULE BAR CHART TO COVER ALL ACTIVITIES NECESSARY TO CONSTRUCT THE PROJECT, WHICH SHALL BE BASED ON THE A/M TIME MILESTON.