Manufacturers\Vendors List

The Contractor is responsible to provide all materials \ equipments for the project from the first class Manufacturers\Vendors.

Company will provide a complete lists of approved Manufacturers\Vendors prior of signing the contract.

If the Contractor proposed to provide any Materials\equipments from a Manufacturers\Vendors are not included in the A/M lists, then the Contractor is responsible to provide a complete pre-qualification documents for review and approved according to the Company Qualification Procedure.

A final list of approved Manufacturers\Vendors will issue and included in the Technical Annex and will be considered as a part of the Contract documents.

Company has the right to reject any Manufacturers\Vendors which are not complying with its requirements.